## Help
How to use Fast Formulas Spreadsheets
The tabs at the bottom of the spreadsheet contain different subjects.
Click on one of the tabs to display the subject that interests you.
Enter values into the light blue cells, the ones that look like this one:
When you have entered values into the cells, the result of the formula
appears in the cells with the red border, like this one:
Help Using Spreadsheet Tabs
The spreadsheet tabs in Microsoft Excel are located at the bottom-left side
of the Excel Window as shown here:
To switch between sheets in a workbook, click the sheet tab for the sheet
you want to work on.
If you don't see the tab you want, click the tab scrolling buttons to display
the tab. Then click the tab.
Protected Cells
| When you attempt to change cells that are not light blue-colored ( |  | )
a message box appears that looks like this:
This is because the sheets are "protected" so that they are not accidentally
disturbed in unintended ways.
However, if you are comfortable working with formulas in MS Excel, you may
wish to edit the formulas to adapt them to other uses. You can easily disable
the protection feature as follows:
| 1 | Select the tab that you wish to "Un-Protect"
| 2 | Click the Tools menu, and choose
the Protection menu item and then
click "Unprotect Sheet..."
| 3 | The sheet is now unprotected, allowing
you to make any changes you wish.
BE CAREFUL!
You can easily "re-protect" a sheet that you have unprotected, as follows:
| 1 | Select the tab that you wish to protect
| 2 | Click the Tools menu, and choose the Protection menu item and then
click "Protect Sheet..."
The following dialog box will appear:
| 3 | To protect the sheet without requiring a password to unprotect it later,
click the OK button.
To protect the sheet so that a password is required to unprotect it later,
type a password into the box, and then click the OK button.
DON'T FORGET THAT PASSWORD! WRITE IT DOWN SOMEWHERE.
Fast Formulas can not rescue you from forgotten passwords!

## Fast Formulas
www.fastformulas.com
Thank you for purchasing this spreadsheet from Fast Formulas. We hope that you find it useful.
We offer interactive spreadsheets in the following areas, and are in the process of developing others.
|  | Business: Accounting |  | Engineering: Economics
|  | Business: Finance |  | Civil Engineering: Statics
|  | Business: Marketing |  | Civil Engineering: Dynamics
|  | Business: Statistics |  | Electrical Engineering: AC Circuits
|  | Business: Operations Management |  | Electrical Engineering: DC Circuits
Electrical Engineering: Electronics
Electrical Engineering: Electrostatics
Electrical Engineering: Three Phase
Electrical Engineering: Rotating Machines
Mechanical Engineering: Fluids - Properties
Mechanical Engineering: Fluids - Statics
Technical Support
Unfortunately we are unable to offer general, no-cost technical support. We do, however, offer
technical support on a contract basis. If you would like to obtain contract-based technical support,
please contact us as indicated below.
Bug Reports
If believe feel that you have identified a bug in our products, please email Customer Service
with the following information:
Your Fast Formulas Username
Product Name
Tab Name
Formula Name
A description of the problem
The values for each of the variables in the formula which causes the bug to appear.
We will do our best to resolve the problem as quickly as possible and to provide you with a solution
to the problem. We welcome your feedback and appreciate your patience while we find a solution.
Contact Us
Please check out our Frequently Asked Questions (FAQ) page at
http://www.fastformulas.com/ffshop/faq.asp
first to see if we have already addressed your questions.
We can be reached by fax at (520) 563-4905.
We can also be reached by email at the following addresses:
|  | Customer Service | service@fastformulas.com
|  | Requests for new Subjects | requests@fastformulas.com
We will do our best to respond to email in a timely fashion.

## License
Before purchasing this spreadsheet, you accepted the following license agreement:
Legal Stuff
This is a license not a sale. We continue to own the Software provided to you in this package.
This Software is provided under the terms of the following license agreement that states what
what you may and may not do with the product and contains limitations on warranties and
remedies ("End User License Agreement").
The nature of this Software is that once you download it to your computer, it is not
returnable to Fast Formulas. Therefore we do not accept returns for refund. We do offer
freely downloadable, fully functional demo software for your evaluation prior to purchasing.
We are willing to license this Software to you on the condition that you accept all of the
terms of this End User License Agreement. You accepted and agreed to be bound by this
End User License Agreement by clicking on the button labeled "I ACCEPT".
End User License Agreement
By purchasing and installing any Fast Formulas software (Software), Fast Formulas
(Licensor) grants you (Licensee) the following non-exclusive license agreement.
If you do not agree with the terms of this contract, you must destroy any installation of the
Software on your computer and return the complete product to Fast Formulas. This
Software is protected by U.S. and international copyright laws, and Fast Formulas owns all
rights to such software. When purchasing Software from Fast Formulas you receive no
rights other than those specifically granted to you in this license.
This license grants you specific rights to --
A. Install the Software on one (1) computer terminal/workstation. If the Software can be run
or accessed from more than one computer terminal, you must purchase additional
licenses for each terminal.
B. "Use" the Software for general information purposes, under the condition that the
software, will not be reproduced or copied, in part or in whole, in any manner whatsoever,
unless written consent is granted by the Licensor. The Licensee also accepts that Fast
Formulas will not be held liable for any damages arising from such use.
C. Make modifications or derivative works of any Software ("Derivative Works");
D. Make copies of the Software for general backup and archive purposes, provided that
such copies remain within the licensee's possession.
E. Special Ownership Transfer Rights - You have the right to perform a one time transfer
of ownership of the Software provided that the following conditions are met:
1. You must destroy your copy of the Software on your hard drive and all other
copies and backups that you have made
2. You receive no financial gain from the transfer
3. The complete Software package on the original media, including all files and
documentation, must be given in the transfer
With this license you may NOT --
A. Make copies or reproductions of any files or anything that resulted from using the
Software in any other manner than stated in (B), (C) and (D).
B. Reverse compile, reverse assemble or in any manner reverse engineer the software.
C. In any way rent access or use of the Software for profit to persons other than the licensee.
D. This license does NOT grant you the right to sublicense this Software to another party.
E. You may NOT transfer the right to use the Software subject to this license to another party.
F. Sell, sublicense, distribute or otherwise grant rights or make available for use by others all
or a portion of the Software or Derivative Work(s) in form or formats designed or intended
for re-use of the Software or Derivative Work(s).
G. Make some or all of the Software available on your web page as a separate or downloadable
reusable file for any reason.
No Warranty
This license in non-exclusive. Other rights may be granted to you by sending a written request
to the Licensor. This Software is provided to you "AS IS", with no warranty, either expressed
or implied, whatsoever. Some states do not allow the exclusion of implied warranties, so this may
not apply to you. Fast Formulas will not be held liable for any damages, whether incidental or
consequential, that may arise from using or possessing this software.

## Finance
Finance Formulas
Financial Ratio Analysis
Tax Rate
Input Data | Year 1 | Year 2 | Year 3 | Year 4
Revenues
Cost of Goods Sold
Gross Margin | 0 | 0 | 0 | 0
Operating Expenses
Interest (before tax)
Income (before tax) | 0 | 0 | 0 | 0
Income Tax (Current + Deferred)
Net Income | 0 | 0 | 0 | 0
Dividends
Cash
Accounts Receivables
Other Liquid Current Assets
Inventory
Current Assets | 0 | 0 | 0 | 0
Property, Plant and Equipment
Investments and Other Assets
Total Assets | 0 | 0 | 0 | 0
Current Liabilities
Long Term Debt
Other Long Term Liabilities
Total Liabilities | 0 | 0 | 0 | 0
Working Capital | 0 | 0 | 0 | 0
Shareholders Equity
Market price per Common Stock share
Number of Common Stock shares
Cash Expenses
Cash from Operations
Ratios | Year 1 | Year 2 | Year 3 | Year 4
OVERALL
Price / Earnings (P/E) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Return on Assets (ROA) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Return on Invested Capital (ROIC) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Return on Shareholders Equity (ROSE) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PROFITABLITY
Gross Margin % (GM) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Profit Margin | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Earnings Per Share (EPS) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
INVESTMENT UTILIZATION
Asset Turnover | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Invested Capital Turnover | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Equity Turnover | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Capital Intensity | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Days' Cash | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Days' Receivables (or collection period) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Days' Inventory | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Inventory Turnover | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Working Capital Turnover | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
FINANCIAL CONDITION
Current Ratio | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Acid Test (Quick Ratio) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Debt / Equity Ratio | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Debt / Capitalization Ratio | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Times Interest Earned | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Cash Flow / Debt | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Dividend Yield | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Dividend Payout | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
The Finance Formulas spreadsheet available for purchase at www.fastformulas.com includes
the following financial formulas and analyses:
Equivalent Pre-Tax Yield On Taxable Investment |  |  |  | Bond Present Worth
Inflation Premium |  |  |  | Bond Valuation (Annual Compounding)
Nominal Interest Rate |  |  |  | Bond Valuation (Semi-Annual Compounding)
Risk Free Rate Of Interest |  |  |  | Conversion Price
Average Sales Per Day |  |  |  | Price Of Callable Bond
Cash Flow Coverage Financial Ratio |  |  |  | Value Of Long-Term And Short-Term Annual Coupon Bonds At Different Market Interest Rates
Current Financial Ratio |  |  |  | Yield To Maturity
Days Sales Outstanding |  |  |  | Optimal Amount Of Cash Raised By Selling Marketable Securities Or By Borrowing
Debt Financial Ratio |  |  |  | Baumol Model
Earnings Per Share |  |  |  | Annual Savings
Fixed Assets Turnover Financial Ratio |  |  |  | Average Sales Per Day
Inventory Turnover Financial Ratio |  |  |  | Cost Of Carrying Receivables
Market / Book Financial Ratio |  |  |  | Credit Score
Price / Earnings Financial Ratio |  |  |  | Days Sales Outstanding
Profit Margin On Sales |  |  |  | Total Cost Of Cash Balances
Quick Financial Ratio Or Acid Test Financial Ratio |  |  |  | Average Inventory
Return On Common Equity |  |  |  | Economic Order Quantity
Return On Total Assets |  |  |  | Inventory Management
Times-Interest-Earned Financial Ratio |  |  |  | Reorder Point
Total Assets Turnover Financial Ratio |  |  |  | Total Carrying Cost
Break Even Quantity |  |  |  | Total Inventory Cost
Break Even Sales |  |  |  | Total Ordering Cost
Cash Operating Break Even Quantity |  |  |  | Annual Percentage Rate
Contribution Margin |  |  |  | Approximate Cost Of Foregoing A Cash Discount
Degree Of Financial Leverage |  |  |  | Compensating Balance Requirement
Degree Of Financial Leverage - If NO Preferred Stock Exists |  |  |  | Effective Annual Rate
Degree Of Financial Leverage - If Preferred Stock Exists |  |  |  | Periodic Rate
Degree Of Operating Leverage |  |  |  | Periodic Rate (Discount)
Degree Of Operating Leverage - At A Particular Operating Level |  |  |  | Required Loan Amount
Degree Of Operating Leverage - At A Particular Sales Level |  |  |  | Usable Funds
Degree Of Total Leverage |  |  |  | Capital Budgeting Evaluation
Degree Of Total Leverage - If NO Preferred Stock Exists |  |  |  | Coefficient Of Variation
Degree Of Total Leverage - If Preferred Stock Exists |  |  |  | Comparison Of Multiple Projects
Earnings Before Interest And Taxes |  |  |  | Expected Net Present Value
Earnings Before Interest And Taxes - Financial Break Even Point |  |  |  | Incremental Operating Cash Flow
Full Capacity Sales |  |  |  | Net Cash Flow
Gross Profit Margin |  |  |  | Net Present Value
Total Cost |  |  |  | Payback
Beta Coefficient Of A Portfolio |  |  |  | Required Rate Of Return For A Project
Coefficient Of Variation |  |  |  | Standard Deviation Of The Net Present Value
Expected Rate Of Return |  |  |  | After Tax Component Cost Of Debt
Expected Rate Of Return On A Portfolio |  |  |  | Bond Yield + Risk Premium Approach To Stock Valuation
Market Risk Premium |  |  |  | Break Point
Security Market Line |  |  |  | Capital Asset Pricing Model
Standard Deviation |  |  |  | Component Cost Of Preferred Stock
Variance |  |  |  | Constant Growth Rate Approach To Stock Valuation
Effective Annual Rate |  |  |  | Cost Of New Common Equity
Future Value |  |  |  | Discounted Cash Flow Approach To Stock Valuation
Future Value Of An Annuity |  |  |  | Marginal Cost Of Capital Schedule
Future Value Of An Annuity Due |  |  |  | Required Rate Of Return
Future Value Of An Uneven Cash Flow Stream |  |  |  | Required Rate Of Return
Future Value With Frequent Compounding |  |  |  | Weighted Average Cost Of Capital
Periodic Interest Rate |  |  |  | Weighted Average Cost Of Capital
Present Value |  |  |  | Degree Of Financial Leverage
Present Value Of A Perpetuity |  |  |  | Degree Of Financial Leverage - If NO Preferred Stock Exists
Present Value Of An Uneven Cash Flow Stream |  |  |  | Degree Of Financial Leverage - If Preferred Stock Exists
Simple, Quoted Interest Rate Per Period |  |  |  | Degree Of Operating Leverage
Time Value Of Money Calculator |  |  |  | Degree Of Operating Leverage - At A Particular Operating Level
Preferred Stock Valuation |  |  |  | Degree Of Operating Leverage - At A Particular Sales Level
Intrinsic (Theoretical) Value Of A Stock - (The Present Value Of Future Dividends) |  |  |  | Degree Of Total Leverage
Value Of A Stock Based On Constant Growth |  |  |  | Degree Of Total Leverage - If NO Preferred Stock Exists
Approximate Yield To Maturity |  |  |  | Degree Of Total Leverage - If Preferred Stock Exists
Asset Value |  |  |  | Earnings Per Share (Eps)
New Earnings Per Share Based On Increased Sales (EPS1)
Currency Conversion Cross Rate

## Marketing
Marketing Formulas and Graphs
Total Cost
| TC | = | Total Cost | TC = F + ( V * Q ) | = | F | + | ( V | * | Q )
| F | = | Fixed Costs |  |  |  | + |  | * |  | =
| V | = | Variable Cost per unit
| Q | = | Quantity of units produced
| Break Even Quantity |  |  | QBE = F / ( P - V ) | = | F | / | ( P | - | V )
| QBE | = | Break Even Quantity |  |  |  | / |  | - |  | =
| F | = | Fixed Costs
| P | = | Sales Price of item | QBE = F / ( Unit Contribution ) | = | F | / | Unit Contribution
| V | = | Variable Cost per unit |  |  |  | / |  | =
Contribution Margin
| P | = | Sales Price of item | Contribution Margin = P - V | = | P | - | V
| V | = | Variable Cost per unit |  |  |  | - |  | =
| Total Contribution |  |  | Total Contribution = ( P - V ) * Q
| P | = | Sales Price of item | Total Contribution | = | ( P | - | V ) | * | Q
| V | = | Variable Cost per unit |  |  |  | - |  | * |  | =
| Q | = | Quantity of units produced
|  |  |  | Total Revenue | = | P | * | Q
[7 empty] | * |  | =
|  |  |  | Total Variable Cost | = | V | * | Q
[7 empty] | * |  | =
|  |  |  | Total Contribution | = | Total Revenue | - | Total Variable Cost
[7 empty] | - |  | =
| Manufacturer's Margin |  |  |  |  | MFR's Selling Price
|  |  |  | Manufacturer's Margin | = | to Distributors | - | Manufacturing Cost
[7 empty] | - |  | =
| Wholesaler's Margin |  |  |  |  | Wholesaler's Selling
|  |  |  | Wholesaler's Margin | = | Price to Retailers | - | Price Paid to MFR
[7 empty] | - |  | =
| Retailer's Margin |  |  |  |  | Retailer's Selling Price
|  |  |  | Retailer's Margin | = | to Consumer | - | Price Paid to Wholesaler
[7 empty] | - |  | =
The Marketing Formulas spreadsheet available for purchase at
www.fastformulas.com includes the following financial formulas and analyses:
| Cost and Margin |  |  |  | Gross Profit Margin
| Break Even Quantity |  |  |  | Manufacturer's Margin
| Break Even Sales |  |  |  | Retailer's Margin
| Cash Operating Break Even Quantity |  |  |  | Total Contribution
| Contribution Margin |  |  |  | Total Cost
| Full Capacity Sales |  |  |  | Wholesaler's Margin
| Graph of Cost, Margin and Break Even |  |  |  | Graph of Iso-Profit Curves

## Operations Management
Operations Management
Queueing Theory (Single Server)
Probability that No Customers are in System | [6 empty] | P0 = 1 - ( l / m )
| P0 | = | Probability that No Customers are in System
|  | = | Mean Arrival Rate |  |  |  |  |  | 
|  | = | Mean Service Rate |  |  | P0 = 1 - ( |  | / |  | ) =
Probability that the Server is Busy (there are customers)
|  | = | Probability that the Server is Busy (there are customers)
|  | = | Mean Arrival Rate |  |  |  |  |  | 
|  | = | Mean Service Rate |  |  | r = l / m = |  | / |  | =
Probability that exactly n Customers are in System | [6 empty] | Pn = { 1 - ( l / m ) } * { ( l / m ) n }
| Pn | = | Probability that n Customers are in System | [10 empty] | n
|  | = | Mean Arrival Rate |  |  |  |  |  |  |  |  |  | 
|  | = | Mean Service Rate |  |  | Pn = { 1 - ( |  | / |  | ) } * ( |  | / |  | ) } =
| n | = | Number of Customers
Average Number of Customers in the System | [5 empty] | L = l / ( m - l ) |  |  | 
| L | = | Average Number of Customers in the System |  |  | L = |  |  |  | =
|  | = | Mean Arrival Rate |  |  |  |  | - | 
|  | = | Mean Service Rate |  |  |  |  | -
Average Number of Customers in Queue | [5 empty] | Lq = l2/ ( m ( m - l ) ) |  |  |  | 2
| Lq | = | Average Number of Customers in the Queue |  |  | Lq = |  |  |  | 2 |  | =
|  | = | Mean Arrival Rate |  |  |  |  | * | ( m | - | l )
|  | = | Mean Service Rate |  |  |  |  | * |  | -
Average Time that a Customer spends in System
| W | = | Average Time that a Customer spends in System |  |  |  |  | W = 1 / ( m - l ) = |  | 1 |  | =
|  | = | Mean Arrival Rate | [5 empty] |  | - | 
|  | = | Mean Service Rate | [6 empty] | -
Average Time that a Customer spends in Queue | [6 empty] | Wq = l / ( m ( m - l ) )
| Wq | = | Average Time that a Customer spends in Queue | [5 empty] | 
|  | = | Mean Arrival Rate |  |  | Wq = | [5 empty] | =
|  | = | Mean Service Rate |  |  |  |  | * | ( m | - | l )
[8 empty] | * |  | -
Economic Analysis |  |  |  | TC = ( CW * L ) + CS |  |  | ( CW | * | L ) | + | CS
| TC | = | Total Cost |  |  | TC = |  | * |  | + |  | =
| CW | = | Waiting Cost per Customer (Opportunity Cost)
| L | = | Average Number of Customers in the System
| CS | = | Service Cost (wages, operating cost...)
Queueing Theory (Single Server)
[5 empty] | Mean Arrival Rate = | 
[5 empty] | Mean Service Rate = | 
[5 empty] | Number of Customers = | n
[5 empty] | Waiting Cost per Customer (Opportunity Cost) = | CW
[5 empty] | Service Cost (wages, operating cost...) = | CS
[5 empty] | Probability that No Customers are in System = | P0
[5 empty] | Probability that n Customers are in System = | Pn
[5 empty] | Probability that the Server is Busy (there are customers) = | 
[5 empty] | Average Number of Customers in the System = | L
[5 empty] | Average Number of Customers in the Queue = | Lq
[5 empty] | Average Time that a Customer spends in System = | W
[5 empty] | Average Time that a Customer spends in Queue = | Wq
[5 empty] | Total Cost = | TC
The Operations Management Formulas spreadsheet available for purchase at
www.fastformulas.com includes the following operations management formulas and analyses:
|  | Inventory Management |  |  |  | Queueing Theory (Single Server)
|  | Average Inventory |  |  |  | Average Number of Customers in Queue
|  | Economic Order Quantity |  |  |  | Average Number of Customers in the System
|  | Reorder Point |  |  |  | Average Time that a Customer spends in Queue
|  | Total Carrying Cost |  |  |  | Average Time that a Customer spends in System
|  | Total Inventory Cost |  |  |  | Economic Analysis
|  | Total Ordering Cost |  |  |  | Probability that exactly n Customers are in System
Probability that No Customers are in System
Probability that the Server is Busy (there are customers)
Queueing Theory (Multiple Servers)
Average Number of Customers in Queue
Average Number of Customers in the System
Average Time that a Customer spends in Queue
Average Time that a Customer spends in System
Economic Analysis
Probability that an Arriving Customer Must Wait
Probability that exactly n Customers are in System
Probability that No Customers are in System
Probability that the Server is Busy (there are customers)

## Engineering Economics
Engineering Economics
|  | Present Worth Method |  |  |  |  | P(a) = -P + F ( 1 + i ) - n
P | = | Present Worth |  |  |  | P | F | i | n
F | = | Future Worth |  |  | Option 1 |  |  |  |  | =
i | = | interest rate
n | = | number of periods (years) |  |  |  |  | P(b) = -P + F ( 1 + i ) - n
[6 empty] | P | F | i | n
[5 empty] | Option 2 |  |  |  |  | =
[8 empty] | The best option is |  | by
|  | Capitalized Cost Method |  | (Infinite life) |  |  | EAA
C | = | Initial Cost |  |  |  | Capitalized Cost = C+ i
EAA | = | Equal Annual Amount |  |  |  |  | C | EAA | i
|  |  | (Yearly Maintenance Cost) | [6 empty] | =
i | = | interest rate
Annualized Cost Method
C | = | Initial Cost |  |  |  | C | EAA | NL | i
NL | = | Periods (Duration or Life) |  |  | Option 1 |  |  |  |  | =
EAA | = | Equal Annual Amount
|  |  | (Yearly Maintenance Cost) |  |  | C | EAA | NL | i
i | = | interest rate |  |  | Option 2 |  |  |  |  | =
[8 empty] | The best option is |  | by
Cost / Benefit Ratio
ic | = | initial cost |  |  | B/C= b/(ic + m + vr) |  |  | b
m | = | cost of maintainence | [7 empty] | =
b | = | user benefits |  |  | B/C | = | ic | m | vr
vr | = | residual value
The Engineering Economics Formulas spreadsheet available for purchase at
www.fastformulas.com includes the following economics formulas and analyses:
| Bond Present Worth | [5 empty] | Return On Total Assets
| Effective Annual Rate | [5 empty] | Times-Interest-Earned Financial Ratio
| Exponential Gradient Cash Flow | [5 empty] | Total Assets Turnover Financial Ratio
| Investment Doubling Time | [5 empty] | Annualized Cost Method
| Investment Tripling Time | [5 empty] | Capitalized Cost Method
| Single - Payment Equivalence | [5 empty] | Present Worth Method
| Discrete Compounding Conversions | [5 empty] | Cost / Benefit Ratio
| Average Sales Per Day | [5 empty] | Constant Percentage Depreciation Method
| Cash Flow Coverage Financial Ratio | [5 empty] | Double Declining Balance Depreciation Method
| Current Financial Ratio | [5 empty] | Production Or Service Output Depreciation Method
| Days Sales Outstanding | [5 empty] | Sinking Fund Depreciation Method
| Debt Financial Ratio | [5 empty] | Straight Line Depreciation Method
| Earnings Per Share | [5 empty] | Sum-Of-The-Years' Digits Depreciation Method
| Fixed Assets Turnover Financial Ratio | [5 empty] | Double Declining Balance Book Value Method
| Inventory Turnover Financial Ratio | [5 empty] | Straight Line Book Value Method
| Market / Book Financial Ratio | [5 empty] | Sum-Of-The-Years' Digits Book Value Method
| Price / Earnings Financial Ratio | [5 empty] | Direct Reduction Loans
| Profit Margin On Sales | [5 empty] | Loans With Constant Amount Paid Towards Principle
| Quick Financial Ratio Or Acid Test Financial Ratio | [5 empty] | Simple Interest Loan
| Return On Common Equity | [5 empty] | Economic Order Quantity
Payback Period

## Electrical Eng (AC Circuits)
Electrical Engineering (AC Circuits)
Ideal Transformer - Turns Ratio
|  |  |  | a = Np / Ns | = | Np | = | a
| a | = | Turns Ratio |  | = |  | =
| Np | = | Primary Number of Turns |  |  | Ns
| Ns | = | Secondary Number of Turns
| Vp | = | Primary Voltage
| Vs | = | Secondary Voltage | a = Vp / Vs | = | Vp | = | a
| Ip | = | Primary Current |  | = |  | =
| Is | = | Secondary Current |  |  | Vs
| Zp | = | Primary Impedance
| Zs | = | Secondary Impedance
| Lp | = | Primary Leakage Flux | a = Is / Ip | = | Is | = | a
| Ls | = | Secondary Leakage Flux |  | = |  | =
Ip
|  |  |  | a = Ö(Zp / Zs) | = | Zp | = | a
[5 empty] | = |  | =
[5 empty] | Ö( | Zs
|  |  |  | a = Ö(Lp / Ls) | = | Lp | = | a
[5 empty] | = |  | =
[5 empty] | Ö( | Ls
Ideal Transformer - Secondary Current
|  |  |  | Is = Vs / Zs | = | Vs | = | Is
| Is | = | Secondary Current |  | = |  | =
| Vs | = | Secondary Voltage |  |  | Zs
| Zs | = | Secondary Impedance
Ideal Transformer - Effective Primary Impedance
|  |  |  | Zep = Vp / Ip | = | Vp | = | Zep
| Zep | = | Effective Primary Impedance |  | = |  | =
| Vp | = | Primary Voltage |  |  | Ip
| Ip | = | Primary Current
| Zp | = | Primary Impedance
| Zs | = | Secondary Impedance | Zep = Zp + a2 * Zs | = | Zp | + | a | 2 | * Zs | = | Zep
| Rp | = | Primary Resistance |  | = |  | + |  | * |  | =
| Rs | = | Secondary Resistance
| Xp | = | Primary Reactance | Rp = a2 * Rs | = | a | 2 | * Rs | = | Rp
| Xs | = | Seconday Reactance |  | = |  | * |  | =
| a | = | Turns Ratio
|  |  |  | Xp = -a2 * Xs | = |  |  | a | 2 | * Xs | = | Xp
[5 empty] | = | -1 | * |  | * |  | =
Real Transformers
|  |  |  | Xp = w * Lp | = |  | * | Lp | = | Xp
| Xp | = | Primary Reactance |  | = |  | * |  | =
| Xs | = | Secondary Reactance
|  | = | Angular Frequency | Xs = w * Ls | = |  | * | Ls | = | Xs
| Lp | = | Primary Leakage Flux |  | = |  | * |  | =
| Ls | = | Secondary Leakage Flux
| Vploss | = | Primary Voltage Loss | Xp = Vploss / Ip | = | Vploss | = | Xp
| Vsloss | = | Secondary Voltage Loss |  | = |  | =
| Ip | = | Primary Current |  |  | Ip
| Is | = | Secondary Current
| f | = | Frequency
|  |  |  | Xs = Vsloss / Is | = | Vsloss | = | Xs
| fmloss | = | Maximum Magnetic Flux Loss |  | = |  | =
| Np | = | Primary Number of Turns |  |  | Is
| Ns | = | Secondary Number of Turns
|  |  |  | Xp = 4.44 * f * fmloss * Np / Ip | = |  |  | f | * | fmloss | * | Np | = | Xp
[5 empty] | = | 4.44 | * |  | * |  | * |  | =
Ip
|  |  |  | Xs = 4.44 * f * fmloss * Ns / Is | = |  |  | f | * | fmloss | * | Ns | = | Xs
[5 empty] | = | 4.44 | * |  | * |  | * |  | =
Is
Real Tranformers - Power Losses
|  |  |  | Ph = kh * f * Bmn | = | kh | * | f | * | Bm | ^ | n | = | Ph
| Ph | = | Hysteresis Loss |  | = |  | * |  | * |  | ^ |  | =
| Pe | = | Eddy-Current Loss
| PCu | = | Copper Loss | Pe = ke * f2 * Bm2 | = | ke |  | f |  |  |  | Bm |  |  | = | Pe
| kh | = | Hysteresis Constant |  | = |  | * |  | ^ | 2 | * |  | ^ | 2 | =
| ke | = | Eddy-Current Constant
| f | = | Frequency | PCu = I2 * R | = | I |  |  |  | R | = | PCu
| Bm | = | Maximum Magnetic Flux Density |  | = |  | ^ | 2 | * |  | =
| n | = | Steinmetz Exponent (usually 1.6)
| I | = | Current
| R | = | Resistance
Real Tranformers - Transformer Efficiency
|  |  |  | h = Pout / Pin | = | Pout | = | 
|  | = | Efficiency |  | = |  | =
| Pout | = | Power Out |  |  | Pin
| Pin | = | Power In
| Plos | = | Power Lost
|  |  |  | h = Pout / (Pout + Plos) | = |  |  | Pout | = | 
[5 empty] | = |  |  |  | =
[6 empty] | Pout | + | Plos
+
|  |  |  | h = 1 - Plos / Pin | = |  |  | Plos | = | 
[5 empty] | = | 1 | - |  | =
Pin
The Electrical Engineering (AC Circuits) Formulas spreadsheet available for purchase at
www.fastformulas.com includes the following electrical engineering formulas and analyses:
| Average Voltage |  |  |  |  | Energy Stored
| Phase Angle Difference |  |  |  |  | Half-Power Point
| Rectangular Voltage |  |  |  |  | Quality Factor
| Voltage |  |  |  |  | Quality Factor in RLC Parallel Circuit
| Voltage Regulation |  |  |  |  | Quality Factor in RLC Series Circuit
| Form Factor |  |  |  |  | Resonance
| Crest Factor |  |  |  |  | High-Pass Filter Circuit
| Impedance in Parallel |  |  |  |  | Low-Pass Filter Circuit
| Impedance in Series |  |  |  |  | Change in Reactive Power
| Impedance Triangle |  |  |  |  | Complex Power
| Reactance |  |  |  |  | Power Factor
| Rectangular Impedance |  |  |  |  | Power Cost
| Admittance |  |  |  |  | Coefficient of Coupling
| Conductance |  |  |  |  | Induced Voltage
| Rectangular Admittance |  |  |  |  | Magnetic Flux
| Rectangular Admittance |  |  |  |  | Mutual Reactance
| Susceptance |  |  |  |  | Ideal Transformer Effective Primary Impedance
| Power |  |  |  |  | Ideal Transformer Secondary Current
| Power in a Resistive Circuit |  |  |  |  | Ideal Transformer Turns Ratio
| Power Stored in a Capacitor |  |  |  |  | Real Transformer Power Losses
| Power Stored in an Inductor |  |  |  |  | Real Transformer Efficiency
| Radiated Power |  |  |  |  | Two-Port Transformer
| Parallel RL Circuit |  |  |  |  | Transmission Line Characteristic Impedance
| Series RL Circuit |  |  |  |  | Transmission Line Reflection Coefficient
| Parallel RC Circuit |  |  |  |  | Transmission Line Standing Wave Ratio
| Series RC Circuit |  |  |  |  | Transmission Line Velocity Factor
| Parallel RLC Circuit |  |  |  |  | Gain
| Series RLC Circuit |  |  |  |  | Impedance Model
| Bandwidth |  |  |  |  | Admittance Model
Hybrid Model

## Electrical Eng (DC Circuits)
Electrical Engineering (DC Circuits)
Voltage Divider
[5 empty] | V2 = V1 * R2 / (R1 + R2) | = | V1 | * | R2 | = | V2
| V1 | = | Voltage 1 |  |  | = |  | * |  | =
| V2 | = | Voltage 2 |  |  |  | R1 | + | R2
| R1 | = | Resistor 1 |  |  |  |  | +
| R2 | = | Resistor 2
Current Divider
[5 empty] | I2 = I1 * R1 / (R1 + R2) | = | I1 | * | R1 | = | I2
| I1 | = | Current 1 |  |  | = |  | * |  | =
| I2 | = | Current 2 |  |  |  | R1 | + | R2
| R1 | = | Resistor 1 |  |  |  |  | +
| R2 | = | Resistor 2
| G1 | = | Conductance 1 |  | I2 = I1 * G2 / (G1 + G2) | = | I1 | * | G2 | = | I2
| G2 | = | Conductance 2 |  |  | = |  | * |  | =
[7 empty] | G1 | + | G2
+
Delta - Wye Transformation
[7 empty] | R1 = Ra * Rc / (Ra + Rb + Rc) | = |  |  | Ra | * | Rc | = | R1
| R1 | = | Resistor 1 in Wye |  |  |  |  | = |  |  |  | * |  | =
| R2 | = | Resistor 2 in Wye | [5 empty] | Ra | + | Rb | + | Rc
| R3 | = | Resistor 3 in Wye | [6 empty] | + |  | +
| Ra | = | Resistor a in Delta
[7 empty] | R2 = Ra * Rb / (Ra + Rb + Rc) | = |  |  | Ra | * | Rb | = | R2
| Rb | = | Resistor b in Delta |  |  |  |  | = |  |  |  | * |  | =
| Rc | = | Resistor c in Delta | [5 empty] | Ra | + | Rb | + | Rc
[10 empty] | + |  | +
[7 empty] | R3 = Rb * Rc / (Ra + Rb + Rc) | = |  |  | Rb | * | Rc | = | R3
[8 empty] | = |  |  |  | * |  | =
[9 empty] | Ra | + | Rb | + | Rc
[10 empty] | + |  | +
[7 empty] | Ra = R1 * R2 / R3 + R1 + R2 | = | R1 | * | R2 | + | R1 | + | R2 | = | Ra
[8 empty] | = |  | * |  | + |  | + |  | =
R3
[7 empty] | Rb = R2 * R3 / R1 + R2 + R3 | = | R2 | * | R3 | + | R2 | + | R3 | = | Rb
[8 empty] | = |  | * |  | + |  | + |  | =
R1
[7 empty] | Rc = R1 * R3 / R2 + R1 + R3 | = | R1 | * | R3 | + | R1 | + | R3 | = | Rc
[8 empty] | = |  | * |  | + |  | + |  | =
R2
The Electrical Engineering (DC Circuits) Formulas spreadsheet available for purchase at
www.fastformulas.com includes the following electrical engineering formulas and analyses:
| Area |  |  | Conductors in Parallel |  |  | Power |  |  | Shunt Resistance
| Resistance |  |  | Conductors in Series |  |  | Decibels |  |  | Multiplier Resistance
| Resistors in Parallel |  |  | Thermoelectric Effect |  |  | Parallel Circuits |  |  | Wheatstone Bridge
| Resistors in Series |  |  | Voltage |  |  | Delta - Wye Transformation |  |  | Charging RC Series Circuit
| % Conductivity |  |  | Voltage in Parallel |  |  | Norton Current |  |  | Discharging RC Series Circuit
| Conductance |  |  | Voltage in Series |  |  | Thevenin Current |  |  | Charging RL Series Circuit
| Conductivity |  |  | Current Divider |  |  | Transfer Resistance |  |  | Discharging RL Series Circuit
| Voltage Regulation |  |  | Voltage Divider |  |  | Torque

## Mechanical Eng (Fluids Statics)
Hydrostatic Forces on a Dam
Moments Acting on a Gravity Dam
|  | Moverturning | = | moment (torque) applied to dam by horizontal pressure, causing it to pivot about the heel of the dam
|  | Mresisting | = | moment (torque) applied to dam by weight of dam and vertical pressure, resisting the overturning moment
|  | Rx | = | horizontal component of the resultant hydrostatic force upon the dam
|  | Ry | = | vertical component of the resultant hydrostatic force upon the dam
|  | yRy | = | horizontal distance between the heel and the line of action of the force Ry
|  | yRx | = | vertical distance between the heel and the line of action of the force Rx
|  | W | = | weight of dam
|  | xCG | = | horizontal distance between the heel and the dam's center of gravity
|  | (FS)overturning | = | factor of safety against overturning
[7 empty] | (FS)overturning=Mresisting/Moverturning | = | Mresisting | / | Moverturning | = | (FS)overturning
[8 empty] | = |  | / |  | =
[7 empty] | Moverturning=Rx*yRx | = | Rx | * | yRx | = | Flatch
[8 empty] | = |  | * |  | =
[7 empty] | Mresisting=(Ry*yRy)+(W*xCG) | = ( | Ry | * | yRy | ) + ( | W | * | xCG | ) = | Mresisting
[8 empty] | = ( |  | * |  | ) + ( |  | * |  | ) =
Lateral Forces Acting on a Gravity Dam
[13 empty] | Ff=mstatic*N | = | mstatic | * | N | = | Ff
[14 empty] | = |  | * |  | =
|  | Ff | = | frictional force
|  | mstatic | = | coefficient of static friction | [8 empty] | Ff=mstatic*(W+Ry) | = | mstatic | * ( | W | + | Ry | ) = | Ff
|  | N | = | normal force | [9 empty] | = |  | * ( |  | + |  | ) =
|  | W | = | weight of the dam
|  | (FS)sliding | = | factor of safety against sliding | [8 empty] | (FS)sliding=Ff/Rx | = | Ff | / | Rx | = | (FS)sliding
|  | Ry | = | vertical component of the resultant hydrostatic force upon the dam | [9 empty] | = |  | / |  | =
|  | Rx | = | horizontal component of the resultant hydrostatic force upon the dam
Soil Pressures
|  | pmax | = | maximum predicted soil pressure
|  | pmin | = | minimum predicted soil pressure
|  | Ry | = | vertical component of the resultant hydrostatic force upon the dam
|  | W | = | weight of dam
|  | b | = | width of dam
|  | e | = | eccentricity, distance between the mid-length of the dam and the line of action fo the total vertical force (W+Ry)
|  | xv | = | horizontal distance from the heel to the line of action of the total vertical force (W+Ry)
|  | Mresisting | = | moment (torque) applied to dam by weight of dam and vertical pressure, resisting the overturning moment
[5 empty] | pmax=(Ry+W)/b*(1+6*e/b) | = ( | Ry | + | W | ) / | b | * ( | 1 | + | 6 | * | e | / | b | ) = | pmax
[6 empty] | = ( |  | + |  | ) / |  | * ( | 1 | + | 6 | * |  | / |  | ) =
[5 empty] | pmin=(Ry+W)/b*(1-6*e/b) | = ( | Ry | + | W | ) / | b | * ( | 1 | - | 6 | * | e | / | b | ) = | pmin
[6 empty] | = ( |  | + |  | ) / |  | * ( | 1 | - | 6 | * |  | / |  | ) =
[5 empty] | e=b/2-xv | = | b | / | 2 | - | xv | = | e
[6 empty] | = |  | / | 2 | - |  | =
[5 empty] | xv=Mresisting/(Ry+W) | = | Mresisting | / ( | Ry | + | W | ) = | xv
[6 empty] | = |  | / ( |  | + |  | ) =
The Mechanical Engineering Fluids Statics Formulas spreadsheet available for purchase at
www.fastformulas.com includes the following mechanical engineering formulas and analyses:
| Hydrostatic Pressure on Surfaces | [6 empty] | Torque on a Gate
| Pressure on an Inclined Plane Surface | [6 empty] | Pressure Due to Several Immiscible Liquids
Pressure on Curved Surfaces
| Pressure on General Plane Surface | [6 empty] | Manometers
| Pressure on Horizontal Plane Surfaces | [6 empty] | Monometers Requiring Correction (With Large Fluid Column Height, or High-Density Fluid Surrounding Manometer Fluid)
| Pressure on Vertical Plane Surfaces | [6 empty] | Standard Manometers ( For Use with Small Fluid Column Height)
| Hydrostatic Forces on a Dam | [6 empty] | Fluid Height and Pressure
| Lateral Forces Acting on a Gravity Dam | [6 empty] | Pressure in Multi-Fluid Barometers or Vessels
| Moments Acting on a Gravity Dam | [6 empty] | Pressure Reading from Barometers, Including Vapor Pressure
| Soil Pressures | [6 empty] | Pressure Reading from Barometers, Neglecting Vapor Pressure
Pressure vs. Height

## Mech Engr (Fluids Properties)
Capillary Action
Height of Liquid in a Capillary Tube
[5 empty] | h=(4*s*gc*cosb)/(r*dtube*g) | = ( | 4 | * |  | * | gc | * | cos | ( |  | )) / ( | r | * | dtube | * | g | ) = | 
[6 empty] | = ( | 4 | * |  | * |  | * | cos | ( |  | )) / ( |  | * |  | * |  | ) =
|  | h | = | height of liquid in capillary tube (relative to liquid surface outside tube)
|  |  | = | surface tension
|  |  | = | contact angle, in RADIANS
|  | gc | = | gravitational conversion constant: For SI, gc=1, for English, gc=32.174
|  |  | = | density
|  | dtube | = | diameter of tube
|  | g | = | gravitational acceleration
Surface tension in a Capillary Tube
[5 empty] | s=(h*r*dtube*g)/(4*cosb*gc) | = ( | h | * |  | * | dtube | * | g | ) / ( | 4 | * | cos | ( |  | ) * | gc | ) = | 
[6 empty] | = ( |  | * |  | * |  | * |  | ) / ( | 4 | * | cos | ( |  | ) * |  | ) =
|  | h | = | height of liquid in capillary tube (relative to liquid surface outside tube)
|  |  | = | surface tension
|  |  | = | contact angle, in RADIANS
|  | gc | = | gravitational conversion constant: For SI, gc=1, for English, gc=32.174
|  |  | = | density
|  | dtube | = | diameter of tube
|  | g | = | gravitational acceleration
Radius of the Meniscus
[5 empty] | rmeniscus=dtube/(2*cosb) | = | dtube | / ( | 2 | * | cos | ( |  | )) = | rmeniscus
[6 empty] | = |  | / ( | 2 | * | cos | ( |  | )) =
|  | rmeniscus | = | radius of the meniscus
|  | dtube | = | diameter of the tube
|  |  | = | contact angle, in RADIANS
The Mechanical Engineering Fluids Properties Formulas spreadsheet available for purchase at
www.fastformulas.com includes the following mechanical engineering formulas and analyses:
| Mole Fractions | [7 empty] | Shear Stress | [5 empty] | Compressibility
| Kinematic Viscosity | [7 empty] | Proportionality of Pressure to Rate of Strain | [5 empty] | Coefficient of Compressibility
| Osmotic Pressure | [7 empty] | Fluid Shear Stress | [5 empty] | Compressibility for Adiabatic Ideal Gas Processes
Compressibility for Isothermal Ideal Gas Processes
| Fluid Pressure and Vacuum | [7 empty] | Surface Tension | [5 empty] | Compressibility in Terms of Partial Derivatives
| Absolute Pressure | [7 empty] | Bubble | [5 empty] | Density of a Compressible Fluid
| Fluid Pressure | [7 empty] | Droplet
[9 empty] | Ring | [5 empty] | Bulk Modulus
| Mass & Density | [7 empty] | Two-sided Rectangular Film | [5 empty] | Secant Bulk Modulus
| API Hydrometer Scale | [13 empty] | Tangent (or Point) Bulk Modulus
| Baume' Hydrometer Scale | [7 empty] | Capillary Action | [5 empty] | Bulk Modulus and Compressibility
| Density: Slugs vs. Lbm | [7 empty] | Height of Liquid in a Capillary Tube
| Ideal Gas Law | [7 empty] | Radius of the Meniscus | [5 empty] | Speed of Sound
| Specific Gravity of a Gas: Equivalent Ratios | [7 empty] | Surface tension in a Capillary Tube | [5 empty] | Mach Number of an Object
| Specific Gravity of a Liquid | [13 empty] | Speed of Sound Due to Temperature Change
| Specific Volume | [13 empty] | Speed of Sound for a Liquid
| Specific Weight of a Fluid | [13 empty] | Speed of Sound for an Ideal Gas